## Pumps
HYDRONIC PUMP SCHEDULE
TAG | DESCRIPTION | LOCATION | GPM | HEAD (FT)
P-01 | PUMP | Mech Room 1 | 120 | 45
P-02 | PUMP | Mech Room 1 | 120 | 45
P-03 | PUMP | Mech Room 2 | 80 | 30
NOTES: PROVIDE VFD ON EACH PUMP

## VAV
VAV BOX SCHEDULE
UNIT TAG | SERVICE | AIRFLOW
|  | MIN CFM | MAX CFM
TBS-101 | VAV BOX | 100 | 400
TBS-102 | VAV BOX | 100 | 400

## Cover
Isotherm Engineering Ltd.
Equipment Schedules
Revision 2